## Cover Sheet
DECC - Renewable Heat Incentive Biomethane Tariff Review
This spreadsheet contains cost and performance metrics for waste biomethane to grid plants. DECC has used this information to derive the tariffs presented in the Consultation Document published as part of the Renewable Heat Incentive biomethane tariff review. DECC recommends these metrics are reviewed having read the Consultation Document first (in particular the Technical Annex) as that document describes the basis of these metrics and the degree of confidence DECC has in them. The purpose of the spreadsheet is to facilitate responses to the consultation questions by providing an opportunity for responders to comment directly on the metrics used. If you wish to use this spreadsheet to provide a response please return your edited copy along with your written responses to the consultation questions to: rhi@decc.gsi.gov.uk

## Data Table
This table is provided to facilitate responses to the questions asked in the Consultation Document and Technical Annex about DECC's biomethane to grid cost and performance evidence base.
Column W can be used to provide comments on the cost and performance data and the assumptions underpinning the data.
You can also provide additional data points on this spreadsheet using the format below. Any evidence provided will be treated in commercial confidence and appropriately aggregated and anonymised if used in the Government's response to the consultation.
Figures in £m (December 2013 prices) unless otherwise stated |  | Capacity | [18 empty] | Key Assumptions | Comments
|  | Gross Biogas Capacity - MW | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 20 | 25 | 30
|  | Approx. Gross Biogas Capacity - nm3/hr | 200 | 300 | 500 | 700 | 800 | 1000 | 1200 | 1300 | 1500 | 1700 | 1800 | 2000 | 2100 | 2300 | 2500 | 3300 | 4100 | 5000
|  | Approx. Biomethane Capacity - nm3/hr* | 100 | 200 | 300 | 400 | 500 | 500 | 600 | 700 | 800 | 900 | 1000 | 1100 | 1200 | 1300 | 1400 | 1800 | 2300 | 2800
Capex Components £m | Development cost |  | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3
| Civil Works |  | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85
| Waste pre-treatment |  | 1.0851 | 1.6447 | 2.0977 | 2.4929 | 2.85 | 3.4201 | 3.9901 | 4.5601 | 5.1301 | 5.7001 | 6.2701 | 6.8401 | 7.4101 | 7.9801 | 8.5501 | 11.4002 | 14.2502 | 17.1003
| Digester Waste |  | 2.5561 | 3.5538 | 4.3092 | 4.9408 | 5.4937 | 5.9912 | 6.4467 | 6.8692 | 7.7279 | 8.5865 | 9.4452 | 10.3038 | 11.1625 | 12.0211 | 12.8798 | 17.173 | 21.4663 | 25.7595
| Boiler |  | 0.0235 | 0.030161 | 0.0349 | 0.038709 | 0.041947 | 0.050336 | 0.058725 | 0.067115 | 0.075504 | 0.083893 | 0.092283 | 0.10067 | 0.10906 | 0.11745 | 0.12584 | 0.16779 | 0.20973 | 0.25168
| Upgrading |  | 0.6306 | 0.92306 | 1.1535 | 1.3512 | 1.5275 | 1.6885 | 1.8378 | 1.9778 | 2.1101 | 2.2359 | 2.3562 | 2.4716 | 2.5828 | 2.6902 | 2.7942 | 3.2729 | 3.7 | 4.09
| Injection |  | 0.85668 | 0.85668 | 0.85668 | 0.85668 | 0.85668 | 0.85668 | 0.85668 | 0.85668 | 0.85668 | 0.85668 | 0.85668 | 0.85668 | 0.85668 | 0.85668 | 0.85668 | 0.85668 | 0.85668 | 0.85668 | £0.1m for propane storage and injections, £0.45m for metering and odorisation and £0.3m for grid ROV and telemetry equipment
| Gas grid connection |  | 0.2628 | 0.2628 | 0.2628 | 0.2628 | 0.2628 | 0.2628 | 0.2628 | 0.2628 | 0.2628 | 0.2628 | 0.2628 | 0.2628 | 0.2628 | 0.2628 | 0.2628 | 0.2628 | 0.2628 | 0.2628
Opex Components - Maintenance £m / year | Waste pre-treatment |  | 0.053814 | 0.078244 | 0.097395 | 0.11376 | 0.12833 | 0.15122 | 0.17372 | 0.1959 | 0.21781 | 0.23948 | 0.26093 | 0.28218 | 0.30326 | 0.32417 | 0.34494 | 0.44688 | 0.54627 | 0.64368 | 4.3% of the capital cost
| Digester Waste |  | 0.046543 | 0.062611 | 0.074472 | 0.084226 | 0.092664 | 0.10018 | 0.10701 | 0.1133 | 0.12597 | 0.1385 | 0.15091 | 0.1632 | 0.17539 | 0.18749 | 0.1995 | 0.25846 | 0.31594 | 0.37228 | 1.6% of the capital cost
| Boiler |  | 0.0017097 | 0.0021403 | 0.0024407 | 0.0026792 | 0.00288 | 0.0033936 | 0.0038986 | 0.0043965 | 0.0048881 | 0.0053743 | 0.0058557 | 0.0063327 | 0.0068057 | 0.0072751 | 0.0077412 | 0.010029 | 0.012259 | 0.014446 | 6.5% of the capital cost
| Upgrading |  | 0.01813 | 0.026538 | 0.033164 | 0.038846 | 0.043915 | 0.048545 | 0.052837 | 0.056862 | 0.060665 | 0.064282 | 0.06774 | 0.071059 | 0.074255 | 0.077343 | 0.080332 | 0.094095 | 0.10637 | 0.11759 | 2.9% of the capital cost
| Injection |  | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 4.7% of the capital cost
| Gas grid connection |  | 0.0030037 | 0.0030037 | 0.0030037 | 0.0030037 | 0.0030037 | 0.0030037 | 0.0030037 | 0.0030037 | 0.0030037 | 0.0030037 | 0.0030037 | 0.0030037 | 0.0030037 | 0.0030037 | 0.0030037 | 0.0030037 | 0.0030037 | 0.0030037 | 1.1% of the capital cost
Opex Components - Other £m / year | Electricity |  | 0.074564 | 0.13914 | 0.20042 | 0.25965 | 0.31739 | 0.37399 | 0.42965 | 0.48452 | 0.5387 | 0.59228 | 0.64533 | 0.69789 | 0.75003 | 0.80176 | 0.85312 | 1.1052 | 1.3511 | 1.592 | Electricity price assumption of £136/MWh (average DECC projection service sector real price 2014-2030)
| Propane |  | 0.050567 | 0.10203 | 0.15379 | 0.20574 | 0.25782 | 0.31 | 0.36227 | 0.41461 | 0.46701 | 0.51947 | 0.57197 | 0.62451 | 0.6771 | 0.72972 | 0.78237 | 1.0461 | 1.3103 | 1.575 | Current cost of approximately £60 per MWh
| Labour |  | 0.044807 | 0.089615 | 0.13442 | 0.17923 | 0.22404 | 0.26884 | 0.31365 | 0.35846 | 0.40327 | 0.44807 | 0.49288 | 0.53769 | 0.5825 | 0.6273 | 0.67211 | 0.89615 | 1.1202 | 1.3442 | Each FTE costs approximately £31,000 per year
| Insurance |  | 0.054148 | 0.072712 | 0.087149 | 0.099431 | 0.11033 | 0.1227 | 0.13453 | 0.14594 | 0.16163 | 0.17726 | 0.19283 | 0.20836 | 0.22384 | 0.23928 | 0.25469 | 0.33133 | 0.40746 | 0.48321 | 1% of the capital cost
| Landfill costs |  | 0.032373 | 0.064747 | 0.09712 | 0.12949 | 0.16187 | 0.19424 | 0.22661 | 0.25899 | 0.29136 | 0.32373 | 0.35611 | 0.38848 | 0.42085 | 0.45323 | 0.4856 | 0.64747 | 0.80933 | 0.9712 | Biomethane plants pay a landfill gate fee of £25 per tonne of rejected feedstock
| Landfill Tax |  | 0.10571 | 0.21142 | 0.31713 | 0.42284 | 0.52854 | 0.63425 | 0.73996 | 0.84567 | 0.95138 | 1.0571 | 1.1628 | 1.2685 | 1.3742 | 1.4799 | 1.5856 | 2.1142 | 2.6427 | 3.1713 | Landfill tax at the current level of £80 per tonne
| Digestate |  | 0.11764 | 0.23529 | 0.35293 | 0.47057 | 0.58821 | 0.70586 | 0.8235 | 0.94114 | 1.0588 | 1.1764 | 1.2941 | 1.4117 | 1.5294 | 1.647 | 1.7646 | 2.3529 | 2.9411 | 3.5293 | Disposal cost of £4.6 per tonne
| Feedstock Cost (£41 Gate Fee) |  | -0.52854 | -1.0571 | -1.5856 | -2.1142 | -2.6427 | -3.1713 | -3.6998 | -4.2284 | -4.7569 | -5.2854 | -5.814 | -6.3425 | -6.8711 | -7.3996 | -7.9282 | -10.5709 | -13.2136 | -15.8563
| Feedstock Cost (£25 Gate Fee) |  | -0.32228 | -0.64457 | -0.96685 | -1.2891 | -1.6114 | -1.9337 | -2.256 | -2.5783 | -2.9005 | -3.2228 | -3.5451 | -3.8674 | -4.1897 | -4.512 | -4.8342 | -6.4457 | -8.0571 | -9.6685
Biomethane Revenues £m / year |  |  | 0.17837 | 0.35991 | 0.5425 | 0.72574 | 0.90944 | 1.0935 | 1.2779 | 1.4625 | 1.6473 | 1.8324 | 2.0176 | 2.2029 | 2.3884 | 2.574 | 2.7598 | 3.6899 | 4.6221 | 5.5558 | Wholesale gas price assumption of 24.8p/MWh (average DECC projection 2014-2030)
Biomethane Output (Annual Output) MWh |  |  | 7200.4833 | 14528.8838 | 21899.5528 | 29296.4696 | 36712.3252 | 44142.9312 | 51585.578 | 59038.3731 | 66499.9219 | 73969.1558 | 81445.2308 | 88927.4637 | 96415.2912 | 103908.2407 | 111405.9105 | 148954.3946 | 186583.4951 | 224275.3835 | 100% load factor for digesters, 8-10% of biogas output required for parasitic load, 95% load factor for the upgrader, 98% load factor for the methane capture. Therefore assume overall 'efficiency' ratio for a plant of approximately 84%
* Average nm3/hr capacity over 1 year i.e. accounts for parasitic load of digester, upgrader load factor and methane slippage in upgrading process.